Chromatography  and Validation

- Definition of Screening Methods and Confirmatory Methods

- Report at least 2 detectors used in GC and compare them with MS detector

- Coupling GC-MS: main ionization methods.

- Differences between HPLC and UHPLC.

- Coupling LC-MS with atmospheric pressure ionization.

- Comparison between LC-UV and LC-MS

- Ionization techniques: soft and hard approaches.

- Quadrupole mass analyser: brief description.

- Time of flight (TOF), principles and coupling

- Resolution and accuracy: definitions

- Orbitrap MS analyser: advantages of HRMS

- Tandem MS (MS/MS): advantages and operational modes.

- Define qualifier and quantifier ions in  LC-MS-MS

- Targeted and untargeted analysis in liquid chromatography coupled to MS

- Report one example of semi-untargeted analysis in LC-MS-MS- in food

- Describe, in general, a  procedure for the targeted analysis of bioactive compounds or contaminants in food with LC-MS-MS

- list and define at least 3 parameters needed for the validation

- Define CCalfa  according to 2002/657/CE decision

- Define CCBeta  according to 2002/657/CE decision

- Define what is Maximum Residue Limit in Eu regulation

- List at least three different categories of contaminants in food according to EU

FTIR

- why molecules absorb in the IR region of the spectrum?

- define the fingerprinting region of IR Spectra

- in which region of IR we observe absorption of chemical groups?

- define overtones in IR

- What is the role of a Michelson interferometer in a FTIR Instrument?

- Why a Fourier Trasform needs to be applied in FTIR?

- advantage of a FTIR versus classical IR instrument

- describe the attenuated total reflection sampling mode

- report main advantages of FTIR analysis of food vs. classical methods

- report main disadvantages of FTIR analysis of food vs. classical methods

- which is the signal used in FT-NIR instruments?

- describe the type of calibration used in FTIR analysis of food

- report  3 application of FT-NIR in food analysis

- why FTIR is useful for food process control?

- Why FTIR cannot be used  to detect food contaminants?

ENZYMES ELECTRODES AND NANOMATERIALS

- Classification of biosensors on the basis of transducer and biological element

- Which phenomena affect the current measured at an amperometric transducer?

- Define a voltammetric transducer

- How a Clark oxygen electrode works?

- How a platinum based hydrogen peroxide electrode works?

- Define a chemical mediator in enzyme electrodes

- Describe what is a  screen printed electrode

- Briefly report how the current signal is generated at an amperometric enzyme electrode

- Briefly explain how a BOD biosensor works

- Define first, second and third generation of enzyme electrodes

- What is the use of ferrocene and its derivatives in enzyme electrodes?

- how it is possible to detect amperometrically hydrogen peroxide  using a carbon based electrode?

- advantages and disadvantages of working in flow injection analysis for an enzyme electrode

- list three possible applications of enzyme electrodes in food analysis

- what is the advantage of using nanomaterials in sensor and biosensors?

- differences among  graphene and carbon nanotubes

- report one application of a nanomaterials based sensor in food analysis describing advantages

- define an inhibition based biosensor

- report an application of enzyme inhibition biosensing in food analysis

- advantages and disadvantages of the use of paper in electrochemical sensing

- report one example of a paper based electrochemical sensor or biosensor

METAL NANOPARTICLES

- what is the localised surface plasmon resonance?

- Report how to measure antioxidant activity using metal nanoparticles

- List 2 application of metal nanoparticles based assay for food

- List possible assay formats using metal nanoparticles

- Describe how it is possible to obtain quantitative data using a smartphone

- Report a possible application of metal nanoparticles assay coupled with smartphone detection

AFFINITY BIOSENSING

- scheme of a competitive immunoassay

- scheme of a non competitive immunoasssay

- what is the non-specific background signal in heterogeneous immunoassay?

- shape and key parameters of a calibration curve of an immunoassay

- scheme of an ELISA

- why HRP and AP are the most used enzymes in ELISA?

- Polyclonal vs. monoclonal antibodies analytical differences in the ELISA assay

- list three possible detection techniques in immunoassays with comments on sensitivity

- list three possible applications of immunoassays and immunosensors in food analysis

- Describe a lateral flow immunoassay

- Describe  a surface plasmon based (SPR) biosensor

- Describe  a piezoelectric biosensor

- advantages and disadvantages of SPR based biosensor vs ELISA

- advantages and disadvantages of piezoelectric  based biosensor vs ELISA

- Describe  a DNA hybridisation biosensor and report a possible application in food analysis

- why gold surfaces are used in affinity biosensor?

- definition of a biomimetic based biosensor

- definition a molecularly imprinted polymer

- Use of a Molecularly imprinted polymer in food analysis

- definition of an aptamer and how it is produced

- report potential applications of aptamers in food analysis

ELECTRONIC NOSE

- definition of an electronic nose

- Describe 2 types of sensors used in electronic noses

- Report advantages and drawbacks of electronic noses analysis

- Describe the calibration procedure of an electronic nose

MULTIVARIATE ANALYSIS

- Explain what is meant by multivariate analysis and why it becomes necessary when studying complex systems such as chemical, biological, or food-related systems.

- Describe the basic principle of Principal Component Analysis (PCA) and explain why it allows the simplification of datasets with a large number of variables.

- What do principal components represent in PCA, and why do they not coincide with the original variables?

- Explain the meaning of explained variance in PCA and why the first components are considered the most important.

- Why is PCA considered an unsupervised method, and what are the consequences of this characteristic for the interpretation of the results?

- Describe the basic idea behind Partial Least Squares (PLS) and explain how it simultaneously uses the information contained in X and Y.

- What is the main conceptual difference between PCA and PLS in the way the components are constructed?

- What is PLS-DA, and in what sense does it modify PLS to address classification problems rather than regression problems?

- Explain what is meant by overfitting in a multivariate model and why the selection of the number of components is a critical step.