NMR

- What is the fundamental requirement of an atomic nucleus to give a nmr spectrum?

- Describe bravely the physical phenomenon of NMR.

- Why, in an external magnetic field, do spin-up and spin-down states have different energies?

- What is net magnetization and how does it apply to NMR?

- Why does the RF-field have to be applied at the Larmor frequency for resonance to occur?

- Explain the correlation between relaxation time constants T1 and T2 and molecular dimensions.

- How Magnetic resonance imaging (MRI) maps the different regions in a soft tissue?

- What region of the electromagnetic spectrum is used in nuclear magnetic resonance?

- What is meant by a chemical shift?

- What is TMS, and why it is used as chemical shift reference?

- Why is the number of absorbing carbons not proportional to the area under a 13C NMR signal?

- Why is the number of absorbing protons proportional to the area under a 1H NMR signal?

- What is shielding and deshielding in NMR? Can you give me an example?

- What influence a chemical shift?

- How many NMR signals does ethane show?

- For a 2D experiment (Two-dimensional correlation spectroscopy) in NMR how is the second dimension obtained?

- What is the Magnetic resonance fingerprinting?

LC-MS and Validation

- Definition of Screening Methods and Confirmatory Methods

- Coupling GC-MS: main ionization methods.

- What does exactly measures Mass Spectrometry?

- Differences between HPLC and UHPLC.

- Coupling LC-MS with atmospheric pressure ionization.

- Comparison between LC-UV and LC-MS

- Applicability of GC-MS and LC-MS

- Ionization techniques: soft and hard approaches.

- Magnetic sector: principles and functioning

- Quadrupole mass analyser: brief description.

- Time of flight (TOF), principles and coupling

- Resolution and accuracy: definitions

- Orbitrap MS analyser: advantages of HRMS

- Tandem MS (MS/MS): advantages and operational modes.

- list and define at least 3 parameters needed for the validation

- Define CCalfa  according to 2002/657/CE decision

- Define CCBeta  according to 2002/657/CE decision

- Define what is Maximum Residue Limit in Eu regulation

- List at least three different categories of contaminants in food according to EU

FTIR

- why molecules absorb in the IR region of the spectrum?

- define the fingerprinting region of IR Spectra

- in which region of IR we observe absorption of chemical groups?

- define overtones in IR

- What is the role of a Michelson interferometer in a FTIR Instrument?

- Why a Fourier Trasform needs to be applied in FTIR?

- advantage of a FTIR versus classical IR instrument

- describe the attenuated total reflection sampling mode

- report main advantages of FTIR analysis of food vs. classical methods

- report main disadvantages of FTIR analysis of food vs. classical methods

- which is the signal used in FT-NIR instruments?

- describe the type of calibration used in FTIR analysis of food

- report  3 application of FT-NIR in food analysis

- why FTIR is useful for food process control?

- Why FTIR cannot be used  to detect food contaminants?

ENZYMES ELECTRODES AND NANOMATERIALS

- Classification of biosensors on the basis of transducer and biological element

- Which phenomena affect the current measured at an amperometric transducer?

- Define a voltammetric transducer

- How a Clark oxygen electrode works?

- How a platinum based hydrogen peroxide  electrode works?

- Define a chemical mediator in enzyme electrodes

- Describe what is a  screen printed electrode

- Briefly report how the current signal is generated at an amperometric enzyme electrode

- Briefly explain how a BOD biosensor works

- Define first, second and third generation of enzyme electrodes

- What is the use of ferrocene and its derivatives in enzyme electrodes?

- how it is possible to detect amperometrically hydrogen peroxide with no Pt electrode?

- advantages and disadvantages of working in flow injection analysis for an enzyme electrode

- list three possible applications of enzyme electrodes in food analysis

- what is the advantage of using nanomaterials in sensor and biosensors?

- differences among  graphene and carbon nanotubes

- define an inhibition based biosensor

- report an application of enzyme inhibition biosensing in food analysis

- advantages and disadvantages of the use of paper in electrochemical sensing

METAL NANOPARTICLES BASED ASSAY

- what is the localised surface plasmon resonance?

- Report how to mesasure antioxidant activity using metal nanoparticles

- List 2 application of metal nanoparticles based assay for food

- List possible assay formats using metal nanoparticles

- Report a possible application of metal nanoparticles assay coupled with smartphone detection

AFFINITY BIOSENSING

- scheme of a competitive immunoassay

- scheme of a non competitive immunoasssay

- what is the non-specific background signal in heterogeneous immunoassay?

- shape and key parameters of a calibration curve of an immunoassay

- scheme of an ELISA

- why HRP and AP are the most used enzymes in ELISA?

- Polyclonal vs. monoclonal antibodies differences in production and analytical use

- list three possible detection techniques in immunoassays

- list three possible applications of immunoassays and immunosensors in food analysis

- scheme of a lateral flow immunoassay

- scheme of a surface plasmon based (SPR) biosensor

- scheme of a piezoelectric biosensor

- advantages and disadvantages of SPR based biosensor vs ELISA

- advantages and disadvantages of piezoelectric  based biosensor vs ELISA

- scheme of a DNA hybridisation biosensor

- report one example of label free DNA biosensor in food analysis

- why gold surfaces are used in affinity biosensing?

- definition of a biomimetic based biosensor

- definition a molecularly imprinted polymer

- definition of an aptamer

- properties of gold nanoparticles

- definition of an electronic nose

- report 2 types of sensors used in electronic noses